## Slide 1
Features Recognition form P&ID
In Image Format Using a
Deep Learning Network
Eun-Seop Yu, Jae-Min Cha, Taekyong Lee, Jinil Kim, Duhwan Mun
CHANGWON NATIONAL UNIVERSITY
MDPI

## Slide 2: Introduction
Piping and Instrumentation diagram(P&ID) is a key drawing
  Includes detailed schematic of each plant process flow and working fluid
P&ID provides the basic design and serves as a basic resource for detail design
  Power plant, Ship building, Construction

## Slide 3: Introduction
Digital P&ID
  All objects are made amenable to computerized data
Digital P&ID can be linked to the project database including 3D design models.
  Assigned tag ID to each symbol which is mapped with 3D model by networking
https://solidedge.siemens.com/ko/solutions/products/3d-design/modular-plant-design/

## Slide 4: Introduction
However, plant operators use and archive them as image file of P&ID
  When rebuild old plant, image P&ID cannot be fixed by using drawing tool
To overcome this issue, P&ID converted from an image to digital format
  Currently, the P&ID process is mostly manual
  Time-consuming and error-prone
P&ID digitization
  A method to recognize and extract object from P&ID should be developed

## Slide 5: Related works
Diagram recognition using traditional image recognition method
  Their faced limitations when conducting robust recognition of various types of objects contained in analog diagrams(text, symbol, line, etc.)
Local Binary Pattern(Tan et al. (2016))
Edge detection
Feature extraction
Input image
Hough transform
Morphological operation
…
…
Hierarchical Gaussianization(Zhou et al. (2009))
Difference of Gaussian(D. G. Lowe et al. (2004))

## Slide 6: Related works
Recently, advanced research on recognizing complex P&IDs has been conducted
  Tesseract OCR engine(text recognition)
  Deep Neural Network for image classification(symbol recognition)
CNN based symbol recognition
  Fu et al., 2011
  Rahul et al., 2019
  Above studies are not consider diagram preprocessing and line and object relation
Rahul, et al., Automatic Information Extraction from Piping and Instrumentation Diagrams,2019

## Slide 7: Contribution
Propose the method of recognize not only symbol and line but also text
Improve the diagram recognition efficiency by providing a preprocessing stage
Also propose the training data structure for P&ID recognition

## Slide 8: Training Data Definition
Define symbol, texts, lines and tables as the object to be recognized
  Symbol: Class, bounding box(top-left coordinate), direction
  Text: Bounding box, direction
  Line: Class, start point, end point, line, shape of edge, flow direction

## Slide 9: Preprocessing
Diagram alignment
  Select longest line → angle calculation → image rotation until is 0
  Tilt diagram will affect the character and table recognition process
Remove outer borders and Boxes
  Line, symbol recognition: remove outer line and table
  Table recognition: remove symbol and line

## Slide 10: Symbol Detection
Define DNN model for symbol image classification based on AlexNet
  Due to limitation of data volume, model cannot be deeper(hazard of overfitting)
In this study, model classify 4 type of symbol + 5 direction
  Pump, instrument, valve, diagram reference(DR)
Input 227x227 area
where most likely to
symbol exist

## Slide 11: Symbol Detection
Overcome sliding window overhead
  P&ID resolution: 5000x3000
  Scan by selecting area where symbols are most likely to exist
  Closing(dilation →erosion) → Opening(erosion→dilation)
Classification performance
Filling symbol
Remove pipe

## Slide 12: Text & Line Detection
Using CPTN(Connection Text Proposal Network) to find the character position
Line objects are divided continuously and dotted lines by type
  Also divided horizontal and vertical by orientation
  For line detection training, the continuous line type and H/V line were chosen
Determine line thickness
Compress one pixel
Extract Length and coordiante
Merge seperated line object
8
8
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
2
16
16
Count continuous black pixel
Start = 0
end = n
while x of current pixel < end
If next pixel is black:
change current pixel to white
current pixel += 1
end while
0
0
n
n
line object | start, end
vertical | (6,1), (6,n)
horizon | (0,3), (5,3)
horizon | (5,n), (6,n)
if Gap < 3*thickness(2):
merge
0
n
n
0
n
n
Line detection result

## Slide 13: Text & Line Detection
Line detection result
Several lines pertaining to the symbol object were recognized line object
Detection accuracy can be improved by removing symbol area

## Slide 14: Table Detection
Some P&ID contain tables listing details of equipment included in the diagram
Identify the line combinations that form a table
  Check the connection of horizontal line and vertical line
  Detect rectangular
Generate rectangular kernel with the identified line
Check if the kernel is connected to other element
  If not, that kernel defined as a table

## Slide 15: Evaluation
Two test P&IDs are prepared
  P&ID provided by ‘S’ engineering
  Resolution: 1460x840, 1360x780
Sliding window size for symbol recognition
  Instrument: 70x70
  Diagram reference: 40x200
  Pump: 120x120
  Valve: 25x40
  IOU* threshold : 0.8
CPU | AMD Ryzen7 2700x
Memory | 64GB
GPU | NVidia GeForce RTX 2080Ti
OS | Window10
Language | Python3.7
Framework | TensorFlow 1.1.4.0
* Intersection Over Union.
Degree of overlap, IOU = 1; fully overlapped

## Slide 16: Evaluation
Symbol recognition model training time: 12 min
Preprocessing stage execution time: less than 1 min
Average recognition time
  Symbol recognition time: 36.5 min
  Text recognition time: 5.53 sec
  Line detection time: 3.25 sec
Accuracy

## Slide 17: Evaluation
Error case(symbol recognition)
  Symbol recognition result revealed that specific type were identified as incorrect type(case 2)
  This problem can be solved by increasing recognition type and training data

## Slide 18: Evaluation
Error case(character detection)

## Slide 19: Evaluation
Error case(Line detection)

## Slide 20: Conclusion
This paper proposed a method to detect and extract object in image P&ID
  Symbol, Text, Line, Table
The method consist of the preprocessing and recognition stage
For symbol recognition, deep learning model is defined based on AlexNet
  Also employed the CPTN model for text recognition
Table also can be detected by traditional image processing techniques
This study expected to contributes to the digitization of tons of paper-based P&ID in energy industry